04 05 25

Masonry Accessories

Mortar Deflection Mat

WallNet™:  Provide a 90% porous polyester mesh in thicknesses of 0.187” (3/16”, 4.7 mm), 0.4” (10.6 mm), 1.0” (25.4 mm) and 2” (50.8 mm), applied against wall substrate to maintain continuous air and moisture flow behind applied veneer.

Product:  Subject to compliance with requirements, provide WallNet™ by Mortar Net Solutions® (800-664-6638), www.mortarnet.com.